## Data Qualifiers
J
U
E
D
B
C
Cxx
NR
V
X
EMPC

## LAB_DATA
Sample_ID | Lab_Sample_ID | Lab_Name | Sample_Matrix | Percent_Mositure | Percent_Lipid | QC_Code | Sample_Date | Sample_Time | Analysis_Performed | Extraction_Date | Analysis_Date | Analysis_Time | Sample_Size | Size_Units | Initial_Cal_Date | Instrument_ID | GC_Column_ID | Test_type | Test_batch_type | Batch_ID | Cal_Ver_Lab_Sample_ID | Method_Blank_Lab_Sample _ID | Compound | IUPAC_PCB_# | CAS_# | Conc_Found | Dilution Factor | UNITS | Data_Qualifier | EDL | Minimum_Level | Conc_Lower_Limit | Conc_Upper_Limit | Ion_Abundance_Ratio | Ion_Abundance_Ratio Lower Limit | Ion_Abundance_Ratio Upper Limit | RRT | RRT_Upper_Limit | RRT_Lower_Limit

## Formating Definitions
Electronic Data Deliverables for Analytical Information
DATA FIELDS | FORMAT | DEFINITION
Client_ Sample_ID | TEXT | Client sample ID from Chain of Custody
Lab_Sample_Id | TEXT | Laboratory Identification to be provided by Lab
Laboratory Name | TEXT | Name of Laboratory to be provided by Lab
Sample_Matrix | TEXT | Look up table Sample Matrix must match sample matrix from Chain of Custody. Water (whole) = whole water sample including suspended particulate fraction, Water (dissolved) = water which passes through a filter media, Water (XAD) = water which is passed through an XAD media, Water (Particulate) = particulate fraction of water sample which remains on filter media, Sediment = solids which are collected sub-aqueaously, Soil = soils which are collected sub-arially, Tissue (whole body) = entire fish or organism, Tissue (fillet) = fish fillet, Air (particulate) = particulate fraction of air sample which remains on filter media, Air (dissolved) =dissolved fraction of air sample which passes through filter media.
Percent_Moisture | NUMERIC | Percentage of moisture content of sample
Percent_Lipid | NUMERIC | Percentage of lipid content of sample
Qc_Code | TEXT | Look up table SA = sample, QADU = duplicate, MB = method blank, OPR = spike, MS = matrix spike, MSD = matrix spike duplicate, CCV = cal ver
Sample_Date | DATE (MM/DD/YY) | Sample Date from Chain of Custody
Sample_Time | TIME (HH:MM) | Sample Time from Chain of Custody
Analysis_Perfomed | TEXT | Analysis performed on sample (to be provided by Lab)
Extraction Date | DATE (MM/DD/YY) | Date sample was extracted
Analysis_Date | DATE (MM/DD/YY) | Sample analysis Date (to be provided by Lab)
Analysis_Time | TIME (HH:MM) | Sample analysis Time (to be provided by Lab)
Sample_Size | NUMERIC | Weight/volume of the sample (To two decimal places)
Size_Units | TEXT | Sample size units (g, L, mL)
Initial_Cal_Date | DATE (MM/DD/YY) | Date the initial calibration was run (to be provided by Lab)
Instrument Id | TEXT | Instrument identification (to be provided by Laboratory)
GC Column Id | TEXT | Gas Chromatograph Column identification (to be provided by the Laboratory)
Test Type | TEXT | Type of test values may include "initial, reextraction and reanalysis"
Test Batch Type | TEXT | Lab Batch Type values may include "prepratory, analysis and leach"
Batch_ID | TEXT | Batch Id (to be provided by the lab)
Cal_Ver_Lab_Sample_ID | TEXT | Calibration Verification Lab Sample ID associated with the sample (instrument run id to be provided by Laboratory)
Method_blank_lab _sample_ID | TEXT | Method Blank Lab Sample ID associated with the sample (instrument run id to be provided by Laboratory)
Compound | TEXT | Enter Full chemical compound name
IUPAC_PCB_# | TEXT | IUPAC PCB number from Table 1 EPA Method 1668 Revision A. 1999, for labeled analogs identify with "L" Example "3L","77L"
CAS_# | TEXT | CAS number from Table 1 EPA Method 1668 Revision A. 1999
Concentration Found | NUMERIC | Analyte concentration found
Dilution Factor | NUMERIC | Numeric Dilution Factor applied to extract
UNITS | TEXT | Reporting units (PG/L, PCT_REC, PG/G_DRYWT, etc - use CARP conventions)
Data_Qualifiers | TEXT | Look up table See Data Qualifier Tab on Spreadsheet
EDL | NUMERIC | Estimated Detection Limit See EDL Definition Tab on Spreadsheet
Minimum_Level | NUMERIC | Minimum Level as calculated by Lab
Conc_Lower_Limit | NUMERIC | Used for spikes and cal vers to show limits values are in percent recovery
Conc_Upper_Limit | NUMERIC | Used for spikes and cal vers to show limits values are in percent recovery
Ion_Abundance_Ratio | NUMERIC | Ion Abundance Ratio of the analyte (if present)
Ion_Abundance_Ratio Lower Limit | NUMERIC | Lower limit of Ion Abundance Ratio of the analyte in the Cal Ver associated with the sample
Ion_Abundance_Ratio Upper Limit | NUMERIC | Upper limit of Ion Abundance Ratio of the analyte in the Cal Ver associated with the sample
RRT | NUMERIC | Relative Retention Time of the analyte (if present)
RRT_Lower_Limit | NUMERIC | Lower limit of Relative Retention Time of the analyte in the Cal Ver associated with the sample
RRT_Upper_Limit | NUMERIC | Upper limit of Relative Retention Time of the analyte in the Cal Ver associated with the sample